## Sheet1
Bay 5 R/D Conveyor Control Panel PLC
Slot 01 16 Pt Input 321-1BH02-OAAO Print # K-AU-1-E10387-76 |  |  | Slot 02 16 Pt Input 321-1BH02-OAAO Print # K-AU-1-E10387-77 |  |  | Slot 03 8 Pt Output 322-1HF10-OAAO Print # K-AU-1-E10387-77
Channel | I/O Description | Wire # | Channel | I/O Description | Wire # | Channel | I/O Description | Wire #
I0.0 | Panel Not In E-Stop From ESR E-Stop Relay | 24X1 | I4.0 | Bay 5 Line A Start PB Inspection Station A | 3050 | Q8.0 | Over Wrap Permissive Light Green A | 3300
I0.1 | Panel Not In E-Stop From E-Stop PB-1 | 2300 | I4.1 | Bay 5 Line A Stop PB Inspection Station A | 3060
I0.2 | Panel Not In E-Stop From E-Stop PB10 & 10A | 2310 | I4.2 | Bypass Keyswitch Line A Inspection Station A | 3070 | Q8.1 | Over Wrap Permissive Light Green B | 3320
I0.3 | Panel Not In E-Stop From E-Stop PB20 | 2320 | I4.3 | Water Pressure Switch Line B R/D | 3080
I0.4 | Panel Not In E-Stop From E-Stop PB30 | 2330 | I4.4 | Bay 5 Line B Start PB Inspection Station B | 3090 | Q8.2 | Filler A Overwrap Conveyor Running | 3330
I0.5 | Panel Not In E-Stop From E-Stop PB40 | 2340 | I4.5 | Bay 5 Line B Stop PB Inspection Station B | 3100 |  |  | 3340
I0.6 | Panel Not In E-Stop From E-Stop PB50 | 2350 | I4.6 | Bypass Keyswitch Line B Inspection Station B | 3110 | Q8.3 | Filler B Overwrap Conveyor Running | 3350
I0.7 | 5A1 Takeaway Jog Selector Switch SS1 | 2360 | I4.7 | Water Pressure Switch Line A R/D | 3120 |  |  | 3360
I1.0 | 5A2 Takeaway Jog Selector Switch SS2 | 2370 | I5.0 | Permissives From OverWrap Bay 5 A "ON" | *4080* | Q8.4 | Conveyor 5A1 Start | 3370
I1.1 | 5B1 Takeaway Jog Selector Switch SS3 | 2380 | I5.1 | Permissives From OverWrap Bay 5 B "ON" | *4100* |  |  | 3380
I1.2 | 5B2 Takeaway Jog Selector Switch SS4 | 2390 | I5.2 | Permissives From OverWrap Bay 6 "ON" | *4120* | Q8.5 | Conveyor 5A2 Start | 3390
I1.3 | 5A Auto Start PB. In Overwrap PB 11 | 2400 | I5.3 | Spare | 3160 |  |  | 3400
I1.4 | 5A Auto Start PB. In Overwrap PB 12 | 2410 | I5.4 | Conveyor 5A1 Drive Faulted | 3170 | Q8.6 | Conveyor 5B1 Start | 3410
I1.5 | 5B Auto Start PB. In Overwrap PB 13 | 2420 | I5.5 | Conveyor 5A2 Drive Faulted | 3180 |  |  | 3420
I1.6 | 5B Auto Start PB. In Overwrap PB 14 | 2430 | I5.6 | Conveyor 5B1 Drive Faulted | 3190 | Q8.7 | Conveyor 5B2 Start | 3430
I1.7 | Spare | 2440 | I5.7 | Conveyor 5B2 Drive Faulted | 3200 |  |  | 3440
Slot 04 8 Pt Output 322-1HF10-OAAO Print # K-AU-1-E10387-78 |  |  | Slot 05 4 Ch. Analog Out 332-5HD01-OAAO Print # K-AU-1-E10387-78 |  |  |  | Bay 5 R&D Conveyor E-Stop Run
Channel | I/O Description | Wire # | Channel | I/O Description | Wire #
Q12.0 | Spare | 4060 | Ch 1 | 0-10VDC Speed Reference to Drive 5A1 & 5A2 | 4300
4310
Q12.1 | Spare | 4080
|  |  | Ch 2 | 0-10VDC Speed Reference to Drive 5B1 & 5B2 | 4340
Q12.2 | Spare | 4100 |  |  | 4350
Q12.3 | Spare | 4120 | Ch 3 | 0-10VDC Speed Reference Spare | 4380
4390
Q12.4 | Spare | 4140
|  |  | Ch 4 | 0-10VDC Speed Reference Spare | 4420
Q12.5 | Spare | 4160 |  |  | 4430
Q12.6 | Spare | 4180
Q12.7 | Spare | 4200
| Over Wrap PLC Permissives to Bay 5 R & D PLC |  |  |  | Permissives to Bay 5 R & D PLC From Overwrap